Inclined Platform Lifts - Savaria ES-125 - Specifications

PRODUCTS

ES-125 P: PUBLIC MODEL (Drum/Cable driven, Machine Room required) by:
MOBILITY ELEVATOR, 25 Merry Lane, East Hanover, NJ - PH: (800) 441-4181 or (973)887-7500 - FAX: (973)887-0442 

STAIR PLATFORM LIFT: MODEL ES-125 INFORMATIONS AND DETAILS FOR TECHNICAL SPECIFICATIONS

1. GENERAL POINTS

CATEGORY OF ELEVATING DEVICE: Unenclosed stair platform lift

NAME OF MANUFACTURER: Services Industriels Savaria Inc. (SIS)

MODEL NUMBER: ES-125 Stairway Platform

TYPE OF CARRIAGE: Platform for one wheelchair and its occupant

RATED LOAD: 204 kg (450 lbs) one occupant and one wheelchair

MAXIMUM CAPACITY: One person in its wheelchair

RATED SPEED: Vnominal = 0.073 m/s (14.5 ft/min) Approx.

AVERAGE ANGLE: a <> 45°

2. DRIVE UNIT

TYPE OF DRIVE UNIT: ES-125 P Cable suspension, pulleys and winding drum

SUSPENSION MEANS FEATURES: One cable 7 x 19,ø 4.76 MM (ø 3/16 in)
Breaking load: F min = 1 905 kg (4 200 Ibs)
Galvanized steel aircraft quality cable

SITE AND ACCESS TO DRIVE UNIT: Under the staircase
Access: through a door al the side of the staircase (ES-125 and ES-125 P) or self enclosed at top landing (ES-125 Plus)

DRIVE UNIT POWER: 0.373 kW (1/2 hp)
Electrical release brake on motor (ES-125 Plus/ES-125 P)

DRIVE UNIT SPECIFICATIONS Alternate current motor (AC):115/208-230 volts
Type: capacitor
Reducing gearbox: Ratio: 50:1
V-belt: Type: 4L 370
Aluminum drum: ø 133.4 nun ((P 5.250) O.D.
Galvanized steel cable: 7 : 19, ø 4.76 mm (ø 3/16 in)
Breaking bad: F min = 1 905 kg (4 200 lbs) Aircraft quality
Optional battery back-up system: Continuous current motor (DC) 12 volt Lead Battery (deep cycle) wet type 12 volts DC

TYPE OF DRIVE UNIT: ES-128 PLUS ROLLER CHAIN X50 AND AIRCRAFT CABLE
Breaking load: F min =2767 kg (6100 lb)

DRIVE CABINET: Cold rolled steel Height:75"
Length:11"
Width: 8'
No Machine Room required for ES-125 Plus. The motor assembly is self enclosed at the top landing in a drive box

ELECTRIC CONTROL BOARD: CSA or ETL (Warnock Hersey) approved 
Category: Controller for elevating devices for the handicapped No.: LR 96281 CSA C22.2 No 14 
or
94307 ETL(conforms to ANSI/UL STD 508) 
120 v; 60 hz; 9,5 A; 1 ph., 1/2 hp

CAR TRAVEL IN CASE OF EMERGENCY: A manual winding steel cable device will be installed in order to move the platform. It consists of a lever which can easily be adapted to the gear box or to the motor (system operating on alternate current 110 v AC). 
In case of power failure, the electric motor will be powered by a 12 volt battery whose charge is permanently guaranteed by a charger which is incorporated in the electric pannel (12 v DC battery operated system only).

3. CARRIAGE

CONSTRUCTION: Structure: Steel tubing ASTM A 38

CARRIAGE PROTECTION: All jamming is avoided

FOLDABLE ELEMENTS: The platform can be folded manually for storage
Motorized power folding platform (option)
Distance of folded platform to the wall: 11' to 13" Distance occupied by unfolded platform: 33' to 38'

SAFETIES: Emergency brake in case of steel cable failure (cam device working on a compression spring).
Suspension cable slack switch.
Under panel safety plate with horizontal and vertical action. Safety flaps and edges on access sides.
Six(6) inches barrier on non access side.
Height(8)inches security flaps on access side.
Load sensitive power fold mechanism.
Three(3) positions barrier arm.
Manual lowering and raising device.
Electro mechanical break on motor.
Anti-shear plates on carriage.
Emergency stop buttons on car and at landing.
Keyed call/send station.
Audio visual alarm.
Attendant hand-control

4. PLATFORM 

Low voltage controls (24 V)Final limit switch

USABLE INSIDE DIMENSIONS:
Residential:915 mm x 700 mm (36 in x 27.5 in) surface: 0.641 m² (993 in²) 
Public: 1118 mm x 730 mm (44 x 28.75 in)
0.816 m² (1265 in²)
1219 mm x762 mm (48 x 30 in)
0.929 m² (1440 in²)
Custom platform size available

CONSTRUCTION: Platform: steel tubing ASTM A36 Anti-skid surface

RECOMMENDED VERTICAL CLEARANCE: 1500 mm (59 in)

SAFETY FLAP: Positive mechanism powered by cable ø 3 mm (ø 0.125 in)

Residential:
Height: 127 mm (5.00 in)
Length: 725 mm (28.5 in)

Public: 
Height: 203 mm (8.00 in)
Length: 762 mm (30.00 in)

5. OPERATION

OPERATING DEVICE SITES: (May vary from province, states and local codes) 
The controls are the continuous pressure type.
The operating devices are situated: at a height of 765 mm (30 in) on the car 
Up button (black) 
Down button (black) 
Emergency stop (red) 
Key control At 1000 mm from the floor at upper and lower landings 
Up button (black) Down button (black) 
Emergency stop (red) 
Key control Spring loaded rocking button for power folding action at landing call station.

6. FINISHES 

One(1) coat of primer and two(2) coats of 'Almond' beige acrylic urethante paint on all steel surface. Custom colors available on request. 

7. OPTIONS

Battery operation

Foldable seat

All weather package

Support tower

Custom platform size

Audio visual alarm

Side loading platform

Ajustable cable deflecter

Three(3) positions barrier arms

Hand held pendant control